## Slide 1: Success with Biomass CHP in Saint Paul
Jeff Guillemette
Ever-Green Energy

## Slide 2: St. Paul Cogeneration Combined Heat & Power
District Energy St. Paul
25 MW of electricity
Dual fueled – NG and renewable, clean, urban wood residue
Greenhouse gas CO2 reduced up to 280,000 tons per year

## Slide 3: Community Scale Heating and Cooling
District Energy St. Paul
Underground network of pipes that aggregate building heating and cooling (thermal) loads
Aggregated thermal loads allows application of technologies and fuels not feasible for individual buildings
Increases fuel flexibility, efficiency, rate stability, reliability & reduces emissions

## Slide 4: Thermal Storage
6.5 million gallons of storage capacity
Chilled water storage reduces peak-electric demand
Firm capacity for weather events

## Slide 5: Heating and Cooling a City

## Slide 6: Local Biomass Incorporation
Local wood collection helps cities and counties convert a waste wood problem to renewable energy
Sources
Wood residuals from manufacturing
Clean wood construction waste
Tree trimmings
Storm and disease damaged trees
Trees removed as part of a timber management plan/restoration

## Slide 7: Biomass Advantages:
Large quantities in MSP metro area
Using for biofuel diverts clean wood waste from landfills
Provides communities an economical way to dispose of wood waste
Stable fuel cost
Biofuel expenditures stay in local community

## Slide 8: Processing Wood Waste Into Biofuel

## Slide 13: Emerald Ash Borer Status
14 Counties currently under quarantine