## Slide 1
Tony “T.J.” Morice
5/2/18
TNT Ventures LLC & Verita Energy LLC
How PACE can help future biomass projects

## Slide 2: Sources of Information
TNT Ventures LLC

## Slide 3: How are we involved
VERITA Energy LLC is a team with over 75 years combined experience
WHAT WE DO—OWNER ADVOCACY:
TNT Ventures LLC
Experience in coordinating and educating numerous biomass combustion systems projects over the last decade in the Midwest and other select areas.
Messersmith Manufacturing since 1982.
Turn-key biomass boiler system installations
  Engineering Design & Layout Assistance
  Boiler System & Fuel Handling Equipment
  Installation, Commissioning & Operator Training
  Full Service & Support for the life of the system
Over 120 successful installations in U.S.
from Maine to Alaska.
Output from 500,000 to 35MMBTU+/hr

## Slide 4: Utility Rate Analysis & Facility Review to start
Electric
Energy Use: 1,540,000 kWh/yr
Average Cost: $166,000/yr
Blended Rate: $0.108/kWh
Natural Gas
Energy Use: 144,000 therms/yr
Average Cost: $89,000/yr
Blended Rate: $0.62/therm
Total Annual Energy Cost: $255,000
$31.63/MMBtu
$6.20/MMBtu
Example analysis for 196,000 square foot facility

## Slide 5: How We Holistically Serve Clients
Utility Rate Analysis & Benchmarking (before)
Energy Procurement
Energy Efficiency
Renewable Energy
Utility Rate Analysis & Benchmarking (after)

## Slide 6: Energy Efficiency
Efficiency must be married with demand management, conservation, procurement, and the potential for renewable energy. Overarching all this must be sound financial ideas that serve the greatest good of the client. Period!
Efficiency is a complex organism
It’s about the details and understanding the tariff

## Slide 7: Facility Benchmarking - After
 | Existing |  | Savings |  | Proposed
Annual Electric Costs ($) | $166,000 |  | $57,000 |  | $109,000
Annual Natural Gas Costs ($) | $89,000 |  | $21,300 |  | $67,700
Annual Energy Costs ($) | $255,000 |  | $78,000 |  | $177,000
Annual Energy Costs ($/sq-ft) | $1.30 |  | $0.40 |  | $0.90
% of Existing | -- |  | 31% |  | 69%
31% reduction in energy costs

## Slide 8: Goddard College-- Plainfield, VT

## Slide 9: Goddard College – LCA & Funding Scenarios

## Slide 10: Grafton County-North Haverhill, NH

## Slide 11: Grafton County—LCA & Payback

## Slide 12: Financing Options
Governement Grants/Programs
Local financing options
  Shorter term with lower rates
Outside capital investor financing
  Shorter term with lower rates (more understanding of projects)
3rd party financing on renewables
Property Assessed Clean Energy (PACE)
  Tied to property taxes
  Lending up to 25 years

## Slide 13: PACE (Public Assessed Clean Energy)
Financing for 100% of PACE project cost
Long repayment periods: up to 30 years.
Positive cash flow
Increase property value
Non-recourse financing (no personal guarantees)
Transfers to new owner upon sale
Energy savings performance guarantees

## Slide 14: PACE Implementation

## Slide 15: National Pace Coverage

## Slide 16: Each state make up is different--WI
Check your local areas and if projects are in counties that don’t currently allow PACE further education may be the key

## Slide 17: MN summary
PACE of MN is now available for any community through the simple step of adopting a standardized Joint Powers Agreement.
Within a matter of weeks, any community can move from interest to PACE implementation – and Eutectics is pleased to assist your community in making PACE a reality for your commercial, industrial and non-profit buildings.
Contact Eutectics today to get the process started in your city or county, and to make long-term, affordable financing available for energy efficiency and renewable energy projects in your community!
Contact us at 612.353.5760 or Info@EutecticsLLC.com to get started on your PACE project today.

## Slide 18: MI summary
PACE special assessments feature terms of 10 to 20 years (up to the useful life of the improvements or equipment involved) – much longer than a traditional bank loan.
Under Michigan's PACE statute, the contractor doing the work must guarantee the energy savings on all projects of $250,000 and up.
Bottom line: property owners doing PACE projects approved as part of Lean & Green Michigan will generally pay nothing down and will generate more money in energy savings than their payments to service the special assessment. The project will be cash flow positive from beginning to end. In fact, under Michigan's PACE law, this savings to investment ratio must be positive on day one as a condition of project approval.

## Slide 19: Eligible Properties & Improvements

## Slide 20: Specific Visual Example Projects
Biomass
Wind
Solar

## Slide 21: WI Example Projects
Wnd
Sola

## Slide 22: Nationwide Commercial Projects 3/14/18

## Slide 23: Types of projects nationally so far…..

## Slide 24: Specific distribution of facilities

## Slide 25: Regional Project Distribution

## Slide 26: Thanks for your attention
tj@veritaenergy.com
Tony.morice@mepsolutions.org